## Turnkey Quotation
Full Turnkey Solar PV + Energy Storage System Proposal
System Type Grid-tied hybrid with backup (on-grid/off-grid switchable) |  |  |  |  | Validity | 3 months
No. | Name | Brand | Description | QTY (pcs) | FOB UNIT price (USD) | AMOUNT (USD)
A1 | Solar PV Module 655W (X10) | LONGi | n-type TOPCon, 24.1% efficiency, IEC61215/IEC61730, TUV certified | 31 | 280 | 8680
A2 | 25kW Three-Phase Hybrid Inverter | Deye | 4 MPPT, built-in EPS, WiFi monitoring, IP65 | 1 | 2100 | 2100
A3 | LiFePO4 Battery 10.24kWh | CATL cells | 51.2V 200Ah, BMS, CAN/RS485, 6000+ cycles | 5 | 900 | 4500
A4 | Battery Rack Cabinet | OEM | 19-inch for 5 modules, cable management, IP20 | 1 | 300 | 300
| Core Equipment Subtotal |  | Core Equipment Subtotal | 0 | 0 | 15580
No. | Item | Description | Item | 0 | 0 | 0
B1 | PV Mounting System | Aluminum rails, clamps, brackets, all bolts | PV Mounting System | 1 | 750 | 750
B2 | PV Cables & MC4 Connectors | PV1-F 4mm2 DC cable 200m, MC4 10 pairs, Y-branch | PV Cables & MC4 Connectors | 1 | 500 | 500
B3 | Electrical Protection Box | DC/AC breaker + SPD + isolator, pre-assembled | Electrical Protection Box | 1 | 450 | 450
B4 | Smart Bi-directional Meter | Three-phase net-metering, WiFi/RS485, Kenya Power compatible | Smart Bi-directional Meter | 1 | 250 | 250
| Auxiliary Materials Subtotal |  | Auxiliary Materials Subtotal | 0 | 1950 | 0
No. | Item | Cost (USD) | Item | 0 | 0 | 0
L1 | Sea Freight China -> Mombasa + Insurance | 850 | Sea Freight China -> Mombasa + Insurance | 0 | 0 | 0
L2 | Import Duty & VAT (Kenya) | 2,000 | Import Duty & VAT (Kenya) | 0 | 0 | 0
L3 | Port Charges + Customs Clearance | 400 | Port Charges + Customs Clearance | 0 | 0 | 0
L4 | Mombasa -> Nairobi Inland Transport | 250 | Mombasa -> Nairobi Inland Transport | 0 | 0 | 0
| Logistics Subtotal | 3,500 | Logistics Subtotal | 0 | 0 | 0
No. | Item | Scope | Item | 0 | 0 | 0
E1 | On-site Installation & Commissioning | Nairobi site, full system setup, construction scenario support | On-site Installation & Commissioning | 2500 | 0 | 0
E2 | Monitoring Setup & Training | WiFi cloud platform, handover training | Monitoring Setup & Training | 510 | 0 | 0
| Installation Subtotal |  | Installation Subtotal | 3010 | 0 | 0
Category | Amount (USD) | % | Amount (USD) | 0 | 0 | 0
Core Equipment | 15,580 | 51.9% | 15,580 | 0 | 0 | 0
Auxiliary Materials (BOS) | 1,950 | 6.5% | 1,950 | 0 | 0 | 0
Logistics & Customs | 3,500 | 11.7% | 3,500 | 0 | 0 | 0
Installation & Commissioning | 3,010 | 10.0% | 3,010 | 0 | 0 | 0
Project Management & Margin | 5,960 | 19.9% | 5,960 | 0 | 0 | 0
GRAND TOTAL (DDP Nairobi) | 30,000 | 100% | 30,000 | 0 | 0 | 0
Timeline | Activity |  | Activity | 0 | 0 | 0
W1-W2 | Design & Equipment Preparation |  | Design & Equipment Preparation | 0 | 0 | 0
W3-W6 | Sea Freight China -> Mombasa |  | Sea Freight China -> Mombasa | 0 | 0 | 0
W7-W8 | Customs Clearance + Inland Transport to Nairobi |  | Customs Clearance + Inland Transport to Nairobi | 0 | 0 | 0
W9-W10 | Site Installation (mounting, PV, inverter, battery) |  | Site Installation (mounting, PV, inverter, battery) | 0 | 0 | 0
W11 | Commissioning, Testing & Handover |  | Commissioning, Testing & Handover | 0 | 0 | 0
W12+ | Warranty Activation & Remote Support |  | Warranty Activation & Remote Support | 0 | 0 | 0
Core Equipment Subtotal | [5 empty] | 33110
Auxiliary Materials (Full BOS)
| Mounting Structure |  | Aluminum alloy, wind-resistant | 900kWp |  | 21724.36
| DC/AC Cables |  | PV1-F + power cables | Full set |  | 12069.09
| Connectors |  | MC4, terminal blocks | Full set |  | 4827.64
| Cable Trays + Conduits |  | UV-resistant | Full set |  | 4827.64
| Clamps, Lugs, Fasteners |  | Complete fixing kit | Full set |  | 4827.64
| Lightning Protection + Earthing |  | Complete set | 1 |  | 3500
| Distribution Box |  | AC/DC combiner + SPD | 1 |  | 6500
| Aux Subtotal |  |  |  |  | 48276.36
Engineering & Services
| Design |  | Layout, electrical, structural | 1 |  | 6500
| Installation + Labor |  | Full installation | 1 |  | 79656
| Commissioning |  | Testing + grid connection | 1 |  | 10620.8
| Training |  | Operation + maintenance | 1 |  | 4500
| Service Subtotal |  |  |  |  | 101276.8
Logistics & Customs (Kenya)
| Sea Freight + Insurance |  |  | 1 |  | 18200
| Local Transport |  |  | 1 |  | 5800
| Customs Clearance Support |  |  | 1 |  | 2552
| Logistics Subtotal |  |  |  |  | 26552
Total Investment Summary
| Contingency (5%) |  |  |  |  | 32918.14
| GRAND TOTAL |  |  |  |  | 242133.3