## Turnkey Quotation
Full Turnkey Solar PV + Energy Storage System Proposal
JQB KENYAQUOTATION |  |  |  |  | Validity | 3 months
No. | Name | Brand | Description | QTY (pcs) | FOB UNIT price (USD) | AMOUNT (USD)
(USD) | (USD) | (USD) | (USD) | 0 | 0 | 0
A1 Solar PV Module — 720W N-type Bifacial Mono PERC | A1 Solar PV Module — 720W N-type Bifacial Mono PERC | A1 Solar PV Module — 720W N-type Bifacial Mono PERC | A1 Solar PV Module — 720W N-type Bifacial Mono PERC | 1 | 0 | 1
Model: JA Solar JAM72D42-720/LB | Model: JA Solar JAM72D42-720/LB | Model: JA Solar JAM72D42-720/LB | Model: JA Solar JAM72D42-720/LB | 72 | 0 | 72
Max Power: 720W (STC) ¦ Efficiency: 22.8% ¦ Cells: 144 (6×24 half-cut) | Max Power: 720W (STC) ¦ Efficiency: 22.8% ¦ Cells: 144 (6×24 half-cut) | Max Power: 720W (STC) ¦ Efficiency: 22.8% ¦ Cells: 144 (6×24 half-cut) | Max Power: 720W (STC) ¦ Efficiency: 22.8% ¦ Cells: 144 (6×24 half-cut) | 720 | 0 | 720
Dimensions: 2278 × 1134 × 30mm ¦ Weight: 28.5 kg ¦ Fire Rating: Class C | Dimensions: 2278 × 1134 × 30mm ¦ Weight: 28.5 kg ¦ Fire Rating: Class C | Dimensions: 2278 × 1134 × 30mm ¦ Weight: 28.5 kg ¦ Fire Rating: Class C | Dimensions: 2278 × 1134 × 30mm ¦ Weight: 28.5 kg ¦ Fire Rating: Class C | 2278 | 0 | 2278
Voc: 51.68V ¦ Isc: 17.66A ¦ Temp Coeff Pmax: -0.29%/°C | Voc: 51.68V ¦ Isc: 17.66A ¦ Temp Coeff Pmax: -0.29%/°C | Voc: 51.68V ¦ Isc: 17.66A ¦ Temp Coeff Pmax: -0.29%/°C | Voc: 51.68V ¦ Isc: 17.66A ¦ Temp Coeff Pmax: -0.29%/°C | 51 | 0 | 51.68
JA Solar 28 $108 $3,024 | JA Solar 28 $108 $3,024 | JA Solar 28 $108 $3,024 | JA Solar 28 $108 $3,024 | 28 | 0 | 28
A2 Hybrid Inverter — 15kW Three Phase with Dual MPPT | A2 Hybrid Inverter — 15kW Three Phase with Dual MPPT | A2 Hybrid Inverter — 15kW Three Phase with Dual MPPT | A2 Hybrid Inverter — 15kW Three Phase with Dual MPPT | 2 | 0 | 2
Model: Deye SUN-15K-SG04LP3-EU | Model: Deye SUN-15K-SG04LP3-EU | Model: Deye SUN-15K-SG04LP3-EU | Model: Deye SUN-15K-SG04LP3-EU | -15 | 0 | -15
AC Output: 15 kW, 3-Phase 380/400V, 50Hz ¦ Max PV Input: 24 kW | AC Output: 15 kW, 3-Phase 380/400V, 50Hz ¦ Max PV Input: 24 kW | AC Output: 15 kW, 3-Phase 380/400V, 50Hz ¦ Max PV Input: 24 kW | AC Output: 15 kW, 3-Phase 380/400V, 50Hz ¦ Max PV Input: 24 kW | 15 | 0 | 15
MPPT: 2× strings, 200-850V DC range ¦ Battery: 48V DC | MPPT: 2× strings, 200-850V DC range ¦ Battery: 48V DC | MPPT: 2× strings, 200-850V DC range ¦ Battery: 48V DC | MPPT: 2× strings, 200-850V DC range ¦ Battery: 48V DC | 2 | 0 | 2
Grid-tied + Off-grid + Battery backup ¦ IP65 ¦ Wi-Fi monitoring | Grid-tied + Off-grid + Battery backup ¦ IP65 ¦ Wi-Fi monitoring | Grid-tied + Off-grid + Battery backup ¦ IP65 ¦ Wi-Fi monitoring | Grid-tied + Off-grid + Battery backup ¦ IP65 ¦ Wi-Fi monitoring | 65 | 0 | 65
Deye 1 $2,380 $2,380 | Deye 1 $2,380 $2,380 | Deye 1 $2,380 $2,380 | Deye 1 $2,380 $2,380 | 1 | 0 | 1
A3 LiFePO4 Battery Energy Storage — 174.08 kWh Total | A3 LiFePO4 Battery Energy Storage — 174.08 kWh Total | A3 LiFePO4 Battery Energy Storage — 174.08 kWh Total | A3 LiFePO4 Battery Energy Storage — 174.08 kWh Total | 3 | 0 | 3
Module: 51.2V / 200Ah (10.24 kWh per unit) — LiFePO4 (LFP) | Module: 51.2V / 200Ah (10.24 kWh per unit) — LiFePO4 (LFP) | Module: 51.2V / 200Ah (10.24 kWh per unit) — LiFePO4 (LFP) | Module: 51.2V / 200Ah (10.24 kWh per unit) — LiFePO4 (LFP) | 51 | 0 | 51.2
Total: 17 modules × 10.24 kWh = 174.08 kWh ¦ Rack-mounted | Total: 17 modules × 10.24 kWh = 174.08 kWh ¦ Rack-mounted | Total: 17 modules × 10.24 kWh = 174.08 kWh ¦ Rack-mounted | Total: 17 modules × 10.24 kWh = 174.08 kWh ¦ Rack-mounted | 17 | 0 | 17
Cycles: >6,000 @ 90% DoD ¦ Built-in BMS ¦ Communication: CAN/RS485 | Cycles: >6,000 @ 90% DoD ¦ Built-in BMS ¦ Communication: CAN/RS485 | Cycles: >6,000 @ 90% DoD ¦ Built-in BMS ¦ Communication: CAN/RS485 | Cycles: >6,000 @ 90% DoD ¦ Built-in BMS ¦ Communication: CAN/RS485 | 6000 | 0 | 6000
Configuration: 4 racks (3×4 + 1×5 modules) ¦ IP55 ¦ 0-50°C operating | Configuration: 4 racks (3×4 + 1×5 modules) ¦ IP55 ¦ 0-50°C operating | Configuration: 4 racks (3×4 + 1×5 modules) ¦ IP55 ¦ 0-50°C operating | Configuration: 4 racks (3×4 + 1×5 modules) ¦ IP55 ¦ 0-50°C operating | 4 | 0 | 4
OEM 17 $850 $14,450 | OEM 17 $850 $14,450 | OEM 17 $850 $14,450 | OEM 17 $850 $14,450 | 17 | 0 | 17
SUBTOTAL — Section A (Core Equipment)$19,854 | SUBTOTAL — Section A (Core Equipment)$19,854 | SUBTOTAL — Section A (Core Equipment)$19,854 | SUBTOTAL — Section A (Core Equipment)$19,854 | 19854 | 0 | 19854
SECTION B — MOUNTING STRUCTURE & HARDWARE (Translucent Corrugated Roof) | SECTION B — MOUNTING STRUCTURE & HARDWARE (Translucent Corrugated Roof) | SECTION B — MOUNTING STRUCTURE & HARDWARE (Translucent Corrugated Roof) | SECTION B — MOUNTING STRUCTURE & HARDWARE (Translucent Corrugated Roof) | 0 | 0 | 0
NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | 0 | 0 | 0
(USD) | (USD) | (USD) | (USD) | 0 | 0 | 0
B1 PV Mounting System — Complete Kit for Translucent Roof | B1 PV Mounting System — Complete Kit for Translucent Roof | B1 PV Mounting System — Complete Kit for Translucent Roof | B1 PV Mounting System — Complete Kit for Translucent Roof | 1 | 0 | 1
Aluminum alloy rails & support beams (6063-T5) | Aluminum alloy rails & support beams (6063-T5) | Aluminum alloy rails & support beams (6063-T5) | Aluminum alloy rails & support beams (6063-T5) | 6063 | 0 | 6063
Custom roof hooks & clamps for corrugated translucent sheets | Custom roof hooks & clamps for corrugated translucent sheets | Custom roof hooks & clamps for corrugated translucent sheets | Custom roof hooks & clamps for corrugated translucent sheets | 0 | 0 | 0
Reinforced base plates & load-distribution pads (prevent cracking) | Reinforced base plates & load-distribution pads (prevent cracking) | Reinforced base plates & load-distribution pads (prevent cracking) | Reinforced base plates & load-distribution pads (prevent cracking) | 0 | 0 | 0
EPDM rubber gaskets, waterproof sealant, UV-resistant flashing | EPDM rubber gaskets, waterproof sealant, UV-resistant flashing | EPDM rubber gaskets, waterproof sealant, UV-resistant flashing | EPDM rubber gaskets, waterproof sealant, UV-resistant flashing | 0 | 0 | 0
Stainless steel fasteners (A2-70 grade), mid & end clamps | Stainless steel fasteners (A2-70 grade), mid & end clamps | Stainless steel fasteners (A2-70 grade), mid & end clamps | Stainless steel fasteners (A2-70 grade), mid & end clamps | 2 | 0 | 2
Wind load rated: 60m/s ¦ Snow load: 2.4kN/m² ¦ Tilt: 10-15° | Wind load rated: 60m/s ¦ Snow load: 2.4kN/m² ¦ Tilt: 10-15° | Wind load rated: 60m/s ¦ Snow load: 2.4kN/m² ¦ Tilt: 10-15° | Wind load rated: 60m/s ¦ Snow load: 2.4kN/m² ¦ Tilt: 10-15° | 60 | 0 | 60
OEM 1 Set $3,097 $3,097 | OEM 1 Set $3,097 $3,097 | OEM 1 Set $3,097 $3,097 | OEM 1 Set $3,097 $3,097 | 1 | 0 | 1
SUBTOTAL — Section B (Mounting & Hardware)$3,097 | SUBTOTAL — Section B (Mounting & Hardware)$3,097 | SUBTOTAL — Section B (Mounting & Hardware)$3,097 | SUBTOTAL — Section B (Mounting & Hardware)$3,097 | 3097 | 0 | 3097
Jamii Quality Bora — Solar Energy Solutions | Jamii Quality Bora — Solar Energy Solutions | Jamii Quality Bora — Solar Energy Solutions | Jamii Quality Bora — Solar Energy Solutions | 0 | 0 | 0
Quote No: JQB-AF-2026-001 | Quote No: JQB-AF-2026-001 | Quote No: JQB-AF-2026-001 | Quote No: JQB-AF-2026-001 | -2026 | 0 | -2026
Incoterm: DDP Nairobi, Kenya | Incoterm: DDP Nairobi, Kenya | Incoterm: DDP Nairobi, Kenya | Incoterm: DDP Nairobi, Kenya | 0 | 0 | 0
SECTION C — ELECTRICAL WIRING & ACCESSORIES | SECTION C — ELECTRICAL WIRING & ACCESSORIES | SECTION C — ELECTRICAL WIRING & ACCESSORIES | SECTION C — ELECTRICAL WIRING & ACCESSORIES | 0 | 0 | 0
NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | 0 | 0 | 0
(USD) | (USD) | (USD) | (USD) | 0 | 0 | 0
C1 PV DC Cables — PV1-F 6mm² (TUV Certified) | C1 PV DC Cables — PV1-F 6mm² (TUV Certified) | C1 PV DC Cables — PV1-F 6mm² (TUV Certified) | C1 PV DC Cables — PV1-F 6mm² (TUV Certified) | 1 | 0 | 1
Double insulated, UV resistant, -40°C to +120°C, 1.5kV rated | Double insulated, UV resistant, -40°C to +120°C, 1.5kV rated | Double insulated, UV resistant, -40°C to +120°C, 1.5kV rated | Double insulated, UV resistant, -40°C to +120°C, 1.5kV rated | -40 | 0 | -40
Red (+) & Black (-) pairs, approx. 300m total length | Red (+) & Black (-) pairs, approx. 300m total length | Red (+) & Black (-) pairs, approx. 300m total length | Red (+) & Black (-) pairs, approx. 300m total length | 300 | 0 | 300
TUV 1 Lot $754 $754 | TUV 1 Lot $754 $754 | TUV 1 Lot $754 $754 | TUV 1 Lot $754 $754 | 1 | 0 | 1
C2 AC Cables & Grounding System | C2 AC Cables & Grounding System | C2 AC Cables & Grounding System | C2 AC Cables & Grounding System | 2 | 0 | 2
3-core + PE AC output cables (4mm²), grounding cables, lightning rod | 3-core + PE AC output cables (4mm²), grounding cables, lightning rod | 3-core + PE AC output cables (4mm²), grounding cables, lightning rod | 3-core + PE AC output cables (4mm²), grounding cables, lightning rod | 3 | 0 | 3
Copper earth rods, equipotential bonding, surge path | Copper earth rods, equipotential bonding, surge path | Copper earth rods, equipotential bonding, surge path | Copper earth rods, equipotential bonding, surge path | 0 | 0 | 0
TUV 1 Lot $476 $476 | TUV 1 Lot $476 $476 | TUV 1 Lot $476 $476 | TUV 1 Lot $476 $476 | 1 | 0 | 1
C3 MC4 Connectors & Cable Management | C3 MC4 Connectors & Cable Management | C3 MC4 Connectors & Cable Management | C3 MC4 Connectors & Cable Management | 3 | 0 | 3
MC4 male/female pairs (30 pairs), Y-branch connectors | MC4 male/female pairs (30 pairs), Y-branch connectors | MC4 male/female pairs (30 pairs), Y-branch connectors | MC4 male/female pairs (30 pairs), Y-branch connectors | 4 | 0 | 4
Cable ties, PVC conduits, trunking, cable clips, labels | Cable ties, PVC conduits, trunking, cable clips, labels | Cable ties, PVC conduits, trunking, cable clips, labels | Cable ties, PVC conduits, trunking, cable clips, labels | 0 | 0 | 0
Staubli 1 Lot $397 $397 | Staubli 1 Lot $397 $397 | Staubli 1 Lot $397 $397 | Staubli 1 Lot $397 $397 | 1 | 0 | 1
SUBTOTAL — Section C (Wiring & Accessories)$1,627 | SUBTOTAL — Section C (Wiring & Accessories)$1,627 | SUBTOTAL — Section C (Wiring & Accessories)$1,627 | SUBTOTAL — Section C (Wiring & Accessories)$1,627 | 1627 | 0 | 1627
SECTION D — CONTROL, PROTECTION & DISTRIBUTION | SECTION D — CONTROL, PROTECTION & DISTRIBUTION | SECTION D — CONTROL, PROTECTION & DISTRIBUTION | SECTION D — CONTROL, PROTECTION & DISTRIBUTION | 0 | 0 | 0
NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | NO. ITEM & SPECIFICATIONS BRAND QTY UNIT (USD) AMOUNT | 0 | 0 | 0
(USD) | (USD) | (USD) | (USD) | 0 | 0 | 0
D1 DC Combiner & Protection | D1 DC Combiner & Protection | D1 DC Combiner & Protection | D1 DC Combiner & Protection | 1 | 0 | 1
DC SPD Type II (PV-specific), DC isolator switches, string fuses | DC SPD Type II (PV-specific), DC isolator switches, string fuses | DC SPD Type II (PV-specific), DC isolator switches, string fuses | DC SPD Type II (PV-specific), DC isolator switches, string fuses | 0 | 0 | 0
PV string monitoring, IP65 enclosure, DC-rated components | PV string monitoring, IP65 enclosure, DC-rated components | PV string monitoring, IP65 enclosure, DC-rated components | PV string monitoring, IP65 enclosure, DC-rated components | 65 | 0 | 65
DEHN 1 Set $675 $675 | DEHN 1 Set $675 $675 | DEHN 1 Set $675 $675 | DEHN 1 Set $675 $675 | 1 | 0 | 1
D2 AC Distribution Board & Protection | D2 AC Distribution Board & Protection | D2 AC Distribution Board & Protection | D2 AC Distribution Board & Protection | 2 | 0 | 2
MCCB/MCB breakers, AC SPD Type II, smart energy meter | MCCB/MCB breakers, AC SPD Type II, smart energy meter | MCCB/MCB breakers, AC SPD Type II, smart energy meter | MCCB/MCB breakers, AC SPD Type II, smart energy meter | 0 | 0 | 0
ATS (Automatic Transfer Switch), CT clamps, distribution enclosure | ATS (Automatic Transfer Switch), CT clamps, distribution enclosure | ATS (Automatic Transfer Switch), CT clamps, distribution enclosure | ATS (Automatic Transfer Switch), CT clamps, distribution enclosure | 0 | 0 | 0
Schneider 1 Set $615 $615 | Schneider 1 Set $615 $615 | Schneider 1 Set $615 $615 | Schneider 1 Set $615 $615 | 1 | 0 | 1
SUBTOTAL — Section D (Control & Protection)$1,290 | SUBTOTAL — Section D (Control & Protection)$1,290 | SUBTOTAL — Section D (Control & Protection)$1,290 | SUBTOTAL — Section D (Control & Protection)$1,290 | 1290 | 0 | 1290
SECTION E — LOGISTICS, CUSTOMS & IMPORT DUTIES (DDP) | SECTION E — LOGISTICS, CUSTOMS & IMPORT DUTIES (DDP) | SECTION E — LOGISTICS, CUSTOMS & IMPORT DUTIES (DDP) | SECTION E — LOGISTICS, CUSTOMS & IMPORT DUTIES (DDP) | 0 | 0 | 0
NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | 0 | 0 | 0
(USD) | (USD) | (USD) | (USD) | 0 | 0 | 0
E1 Sea Freight (FOB China → Port of Mombasa) | E1 Sea Freight (FOB China → Port of Mombasa) | E1 Sea Freight (FOB China → Port of Mombasa) | E1 Sea Freight (FOB China → Port of Mombasa) | 1 | 0 | 1
LCL consolidated shipment, export packaging & palletizing, DG declaration (batteries) | LCL consolidated shipment, export packaging & palletizing, DG declaration (batteries) | LCL consolidated shipment, export packaging & palletizing, DG declaration (batteries) | LCL consolidated shipment, export packaging & palletizing, DG declaration (batteries) | 0 | 0 | 0
Estimated volume: ~10 CBM ¦ Weight: ~3,500 kg ¦ Transit: 35-45 days | Estimated volume: ~10 CBM ¦ Weight: ~3,500 kg ¦ Transit: 35-45 days | Estimated volume: ~10 CBM ¦ Weight: ~3,500 kg ¦ Transit: 35-45 days | Estimated volume: ~10 CBM ¦ Weight: ~3,500 kg ¦ Transit: 35-45 days | 10 | 0 | 10
$1,960 | $1,960 | $1,960 | $1,960 | 1960 | 0 | 1960
E2 Marine Cargo Insurance | E2 Marine Cargo Insurance | E2 Marine Cargo Insurance | E2 Marine Cargo Insurance | 2 | 0 | 2
All-risk coverage, CIF value × 0.3% | All-risk coverage, CIF value × 0.3% | All-risk coverage, CIF value × 0.3% | All-risk coverage, CIF value × 0.3% | 0 | 0 | 0.3
$83 | $83 | $83 | $83 | 83 | 0 | 83
E3 Port Charges & Documentation (Mombasa) | E3 Port Charges & Documentation (Mombasa) | E3 Port Charges & Documentation (Mombasa) | E3 Port Charges & Documentation (Mombasa) | 3 | 0 | 3
THC, bill of lading, DG handling fee, customs entry | THC, bill of lading, DG handling fee, customs entry | THC, bill of lading, DG handling fee, customs entry | THC, bill of lading, DG handling fee, customs entry | 0 | 0 | 0
$500 | $500 | $500 | $500 | 500 | 0 | 500
E4 Inland Transport (Mombasa → Nairobi) | E4 Inland Transport (Mombasa → Nairobi) | E4 Inland Transport (Mombasa → Nairobi) | E4 Inland Transport (Mombasa → Nairobi) | 4 | 0 | 4
Container truck ~480 km, including transit bond | Container truck ~480 km, including transit bond | Container truck ~480 km, including transit bond | Container truck ~480 km, including transit bond | 480 | 0 | 480
$750 | $750 | $750 | $750 | 750 | 0 | 750
E5 Clearing & Forwarding Agent | E5 Clearing & Forwarding Agent | E5 Clearing & Forwarding Agent | E5 Clearing & Forwarding Agent | 5 | 0 | 5
Licensed customs broker, duty/tax processing, KRA compliance | Licensed customs broker, duty/tax processing, KRA compliance | Licensed customs broker, duty/tax processing, KRA compliance | Licensed customs broker, duty/tax processing, KRA compliance | 0 | 0 | 0
$550 | $550 | $550 | $550 | 550 | 0 | 550
SUBTOTAL — Section E (Logistics)$3,843 | SUBTOTAL — Section E (Logistics)$3,843 | SUBTOTAL — Section E (Logistics)$3,843 | SUBTOTAL — Section E (Logistics)$3,843 | 3843 | 0 | 3843
KENYA IMPORT DUTIES & VAT (EAC Tariff) | KENYA IMPORT DUTIES & VAT (EAC Tariff) | KENYA IMPORT DUTIES & VAT (EAC Tariff) | KENYA IMPORT DUTIES & VAT (EAC Tariff) | 0 | 0 | 0
EQUIPMENT CATEGORY CIF VALUE RATE DUTY (USD) | EQUIPMENT CATEGORY CIF VALUE RATE DUTY (USD) | EQUIPMENT CATEGORY CIF VALUE RATE DUTY (USD) | EQUIPMENT CATEGORY CIF VALUE RATE DUTY (USD) | 0 | 0 | 0
Solar PV Modules (EAC Duty Exempt) $3,024 0% $0 | Solar PV Modules (EAC Duty Exempt) $3,024 0% $0 | Solar PV Modules (EAC Duty Exempt) $3,024 0% $0 | Solar PV Modules (EAC Duty Exempt) $3,024 0% $0 | 3024 | 0 | 3024
Hybrid Inverter (Solar Equipment) $2,380 10% $238 | Hybrid Inverter (Solar Equipment) $2,380 10% $238 | Hybrid Inverter (Solar Equipment) $2,380 10% $238 | Hybrid Inverter (Solar Equipment) $2,380 10% $238 | 2380 | 0 | 2380
Lithium Battery (LFP Energy Storage) $14,450 25% $3,612 | Lithium Battery (LFP Energy Storage) $14,450 25% $3,612 | Lithium Battery (LFP Energy Storage) $14,450 25% $3,612 | Lithium Battery (LFP Energy Storage) $14,450 25% $3,612 | 14450 | 0 | 14450
Mounting, Cables & Accessories (avg) $6,014 10% $601 | Mounting, Cables & Accessories (avg) $6,014 10% $601 | Mounting, Cables & Accessories (avg) $6,014 10% $601 | Mounting, Cables & Accessories (avg) $6,014 10% $601 | 6014 | 0 | 6014
Total Import Duty $4,451 | Total Import Duty $4,451 | Total Import Duty $4,451 | Total Import Duty $4,451 | 4451 | 0 | 4451
VAT = (CIF + Duties) × 16% = ($29,711 + $4,451) × 16%$5,466 | VAT = (CIF + Duties) × 16% = ($29,711 + $4,451) × 16%$5,466 | VAT = (CIF + Duties) × 16% = ($29,711 + $4,451) × 16%$5,466 | VAT = (CIF + Duties) × 16% = ($29,711 + $4,451) × 16%$5,466 | 16 | 0 | 16
SECTION F — INSTALLATION, COMMISSIONING & SUPPORT | SECTION F — INSTALLATION, COMMISSIONING & SUPPORT | SECTION F — INSTALLATION, COMMISSIONING & SUPPORT | SECTION F — INSTALLATION, COMMISSIONING & SUPPORT | 0 | 0 | 0
NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | 0 | 0 | 0
(USD) | (USD) | (USD) | (USD) | 0 | 0 | 0
F1 Installation Supervision & Commissioning | F1 Installation Supervision & Commissioning | F1 Installation Supervision & Commissioning | F1 Installation Supervision & Commissioning | 1 | 0 | 1
On-site technical supervision, panel mounting, wiring, system commissioning | On-site technical supervision, panel mounting, wiring, system commissioning | On-site technical supervision, panel mounting, wiring, system commissioning | On-site technical supervision, panel mounting, wiring, system commissioning | 0 | 0 | 0
Load testing, grid-sync testing, battery calibration, safety verification | Load testing, grid-sync testing, battery calibration, safety verification | Load testing, grid-sync testing, battery calibration, safety verification | Load testing, grid-sync testing, battery calibration, safety verification | 0 | 0 | 0
$3,800 | $3,800 | $3,800 | $3,800 | 3800 | 0 | 3800
F2 Project Management & Operator Training | F2 Project Management & Operator Training | F2 Project Management & Operator Training | F2 Project Management & Operator Training | 2 | 0 | 2
Project coordination, site inspection, progress reporting | Project coordination, site inspection, progress reporting | Project coordination, site inspection, progress reporting | Project coordination, site inspection, progress reporting | 0 | 0 | 0
Hands-on operator training: daily operation, monitoring, basic troubleshooting | Hands-on operator training: daily operation, monitoring, basic troubleshooting | Hands-on operator training: daily operation, monitoring, basic troubleshooting | Hands-on operator training: daily operation, monitoring, basic troubleshooting | 0 | 0 | 0
$1,500 | $1,500 | $1,500 | $1,500 | 1500 | 0 | 1500
NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | NO. ITEM & DESCRIPTION AMOUNT | 0 | 0 | 0
(USD) | (USD) | (USD) | (USD) | 0 | 0 | 0
F3 System Monitoring Setup | F3 System Monitoring Setup | F3 System Monitoring Setup | F3 System Monitoring Setup | 3 | 0 | 3
Remote monitoring platform, Wi-Fi dongle, mobile app configuration | Remote monitoring platform, Wi-Fi dongle, mobile app configuration | Remote monitoring platform, Wi-Fi dongle, mobile app configuration | Remote monitoring platform, Wi-Fi dongle, mobile app configuration | 0 | 0 | 0
Automated alerts, performance dashboards, monthly report templates | Automated alerts, performance dashboards, monthly report templates | Automated alerts, performance dashboards, monthly report templates | Automated alerts, performance dashboards, monthly report templates | 0 | 0 | 0
$500 | $500 | $500 | $500 | 500 | 0 | 500
SUBTOTAL — Section F (Services)$5,800 | SUBTOTAL — Section F (Services)$5,800 | SUBTOTAL — Section F (Services)$5,800 | SUBTOTAL — Section F (Services)$5,800 | 5800 | 0 | 5800
TOTAL QUOTATION — DDP NAIROBI, KENYA | TOTAL QUOTATION — DDP NAIROBI, KENYA | TOTAL QUOTATION — DDP NAIROBI, KENYA | TOTAL QUOTATION — DDP NAIROBI, KENYA | 0 | 0 | 0
USD $60,571 | USD $60,571 | USD $60,571 | USD $60,571 | 60571 | 0 | 60571
DDP Price per Watt: $3.00/Wp | DDP Price per Watt: $3.00/Wp | DDP Price per Watt: $3.00/Wp | DDP Price per Watt: $3.00/Wp | 3 | 0 | 3
Includes: Equipment + Sea Freight + Insurance + Port Charges + Inland Transport + Import Duties + VAT + Installation + Training | Includes: Equipment + Sea Freight + Insurance + Port Charges + Inland Transport + Import Duties + VAT + Installation + Training | Includes: Equipment + Sea Freight + Insurance + Port Charges + Inland Transport + Import Duties + VAT + Installation + Training | Includes: Equipment + Sea Freight + Insurance + Port Charges + Inland Transport + Import Duties + VAT + Installation + Training | 0 | 0 | 0
DDP COST BREAKDOWN | DDP COST BREAKDOWN | DDP COST BREAKDOWN | DDP COST BREAKDOWN | 0 | 0 | 0
CORE EQUIPMENT | CORE EQUIPMENT | CORE EQUIPMENT | CORE EQUIPMENT | 0 | 0 | 0
32.8%$19,854 — Panels, Inverter, Battery | 32.8%$19,854 — Panels, Inverter, Battery | 32.8%$19,854 — Panels, Inverter, Battery | 32.8%$19,854 — Panels, Inverter, Battery | 32 | 0 | 32.8
MOUNTING & HARDWARE | MOUNTING & HARDWARE | MOUNTING & HARDWARE | MOUNTING & HARDWARE | 0 | 0 | 0
5.1%$3,097 — Rails, Clamps, Sealant | 5.1%$3,097 — Rails, Clamps, Sealant | 5.1%$3,097 — Rails, Clamps, Sealant | 5.1%$3,097 — Rails, Clamps, Sealant | 5 | 0 | 5.1
WIRING & ACCESSORIES | WIRING & ACCESSORIES | WIRING & ACCESSORIES | WIRING & ACCESSORIES | 0 | 0 | 0
2.7%$1,627 — DC/AC Cables, MC4 | 2.7%$1,627 — DC/AC Cables, MC4 | 2.7%$1,627 — DC/AC Cables, MC4 | 2.7%$1,627 — DC/AC Cables, MC4 | 2 | 0 | 2.7
CONTROL & PROTECTION | CONTROL & PROTECTION | CONTROL & PROTECTION | CONTROL & PROTECTION | 0 | 0 | 0
2.1%$1,290 — Breakers, SPD, ATS | 2.1%$1,290 — Breakers, SPD, ATS | 2.1%$1,290 — Breakers, SPD, ATS | 2.1%$1,290 — Breakers, SPD, ATS | 2 | 0 | 2.1
LOGISTICS & INSURANCE | LOGISTICS & INSURANCE | LOGISTICS & INSURANCE | LOGISTICS & INSURANCE | 0 | 0 | 0
6.3%$3,843 — Freight, Port, Transport | 6.3%$3,843 — Freight, Port, Transport | 6.3%$3,843 — Freight, Port, Transport | 6.3%$3,843 — Freight, Port, Transport | 6 | 0 | 6.3
IMPORT DUTIES & VAT | IMPORT DUTIES & VAT | IMPORT DUTIES & VAT | IMPORT DUTIES & VAT | 0 | 0 | 0
16.4%$9,917 — Kenya Duties + 16% VAT | 16.4%$9,917 — Kenya Duties + 16% VAT | 16.4%$9,917 — Kenya Duties + 16% VAT | 16.4%$9,917 — Kenya Duties + 16% VAT | 16 | 0 | 16.4
INSTALLATION & SUPPORT | INSTALLATION & SUPPORT | INSTALLATION & SUPPORT | INSTALLATION & SUPPORT | 0 | 0 | 0
9.6%$5,800 — Commission, Train, Monitor | 9.6%$5,800 — Commission, Train, Monitor | 9.6%$5,800 — Commission, Train, Monitor | 9.6%$5,800 — Commission, Train, Monitor | 9 | 0 | 9.6
MARGIN | MARGIN | MARGIN | MARGIN | 0 | 0 | 0
25.0%$15,143 — Company Margin | 25.0%$15,143 — Company Margin | 25.0%$15,143 — Company Margin | 25.0%$15,143 — Company Margin | 25 | 0 | 25
TECHNICAL PERFORMANCE | TECHNICAL PERFORMANCE | TECHNICAL PERFORMANCE | TECHNICAL PERFORMANCE | 0 | 0 | 0
DAILY GENERATION | DAILY GENERATION | DAILY GENERATION | DAILY GENERATION | 0 | 0 | 0
88.7 kWh | 88.7 kWh | 88.7 kWh | 88.7 kWh | 88 | 0 | 88.7
MONTHLY GENERATION | MONTHLY GENERATION | MONTHLY GENERATION | MONTHLY GENERATION | 0 | 0 | 0
2,661 kWh | 2,661 kWh | 2,661 kWh | 2,661 kWh | 2661 | 0 | 2661
ANNUAL GENERATION | ANNUAL GENERATION | ANNUAL GENERATION | ANNUAL GENERATION | 0 | 0 | 0
32,377 kWh | 32,377 kWh | 32,377 kWh | 32,377 kWh | 32377 | 0 | 32377
PEAK SUN HOURS | PEAK SUN HOURS | PEAK SUN HOURS | PEAK SUN HOURS | 0 | 0 | 0
5.5 hrs/day (Nairobi) | 5.5 hrs/day (Nairobi) | 5.5 hrs/day (Nairobi) | 5.5 hrs/day (Nairobi) | 5 | 0 | 5.5
SYSTEM EFFICIENCY | SYSTEM EFFICIENCY | SYSTEM EFFICIENCY | SYSTEM EFFICIENCY | 0 | 0 | 0
80% (derated) | 80% (derated) | 80% (derated) | 80% (derated) | 80 | 0 | 80
MPPT OVERSIZING | MPPT OVERSIZING | MPPT OVERSIZING | MPPT OVERSIZING | 0 | 0 | 0
1.34x (within 1.6x limit) | 1.34x (within 1.6x limit) | 1.34x (within 1.6x limit) | 1.34x (within 1.6x limit) | 1 | 0 | 1.34
BATTERY AUTONOMY | BATTERY AUTONOMY | BATTERY AUTONOMY | BATTERY AUTONOMY | 0 | 0 | 0
~57 hrs @ avg load | ~57 hrs @ avg load | ~57 hrs @ avg load | ~57 hrs @ avg load | 57 | 0 | 57
SURPLUS ENERGY | SURPLUS ENERGY | SURPLUS ENERGY | SURPLUS ENERGY | 0 | 0 | 0
461 kWh/month | 461 kWh/month | 461 kWh/month | 461 kWh/month | 461 | 0 | 461
SELF-CONSUMPTION RATE | SELF-CONSUMPTION RATE | SELF-CONSUMPTION RATE | SELF-CONSUMPTION RATE | 0 | 0 | 0
> 95% (estimated) | > 95% (estimated) | > 95% (estimated) | > 95% (estimated) | 95 | 0 | 95
INVESTMENT RETURN ANALYSIS | INVESTMENT RETURN ANALYSIS | INVESTMENT RETURN ANALYSIS | INVESTMENT RETURN ANALYSIS | 0 | 0 | 0
$5,833 | $5,833 | $5,833 | $5,833 | 5833 | 0 | 5833
ANNUAL BENEFIT (USD) | ANNUAL BENEFIT (USD) | ANNUAL BENEFIT (USD) | ANNUAL BENEFIT (USD) | 0 | 0 | 0
10.4 yrs | 10.4 yrs | 10.4 yrs | 10.4 yrs | 10 | 0 | 10.4
PAYBACK PERIOD | PAYBACK PERIOD | PAYBACK PERIOD | PAYBACK PERIOD | 0 | 0 | 0
$145,825 | $145,825 | $145,825 | $145,825 | 145825 | 0 | 145825
25-YEAR TOTAL SAVINGS | 25-YEAR TOTAL SAVINGS | 25-YEAR TOTAL SAVINGS | 25-YEAR TOTAL SAVINGS | 25 | 0 | 25
16.2 tons | 16.2 tons | 16.2 tons | 16.2 tons | 16 | 0 | 16.2
CO2 REDUCED / YEAR | CO2 REDUCED / YEAR | CO2 REDUCED / YEAR | CO2 REDUCED / YEAR | 2 | 0 | 2
METRIC ANNUAL 25-YEAR | METRIC ANNUAL 25-YEAR | METRIC ANNUAL 25-YEAR | METRIC ANNUAL 25-YEAR | 25 | 0 | 25
Solar Generation 32,377 kWh 809,425 kWh | Solar Generation 32,377 kWh 809,425 kWh | Solar Generation 32,377 kWh 809,425 kWh | Solar Generation 32,377 kWh 809,425 kWh | 32377 | 0 | 32377
Electricity Savings (@ $0.20/kWh) $5,280 $132,000 | Electricity Savings (@ $0.20/kWh) $5,280 $132,000 | Electricity Savings (@ $0.20/kWh) $5,280 $132,000 | Electricity Savings (@ $0.20/kWh) $5,280 $132,000 | 0 | 0 | 0.2
Surplus Grid Export Income (@ $0.10/kWh) $553 $13,825 | Surplus Grid Export Income (@ $0.10/kWh) $553 $13,825 | Surplus Grid Export Income (@ $0.10/kWh) $553 $13,825 | Surplus Grid Export Income (@ $0.10/kWh) $553 $13,825 | 0 | 0 | 0.1
Total Financial Benefit $5,833 $145,825 | Total Financial Benefit $5,833 $145,825 | Total Financial Benefit $5,833 $145,825 | Total Financial Benefit $5,833 $145,825 | 5833 | 0 | 5833
Net Profit (after system cost) — $85,254 | Net Profit (after system cost) — $85,254 | Net Profit (after system cost) — $85,254 | Net Profit (after system cost) — $85,254 | 85254 | 0 | 85254
CO2 Emission Reduction 16.2 tons 405 tons | CO2 Emission Reduction 16.2 tons 405 tons | CO2 Emission Reduction 16.2 tons 405 tons | CO2 Emission Reduction 16.2 tons 405 tons | 2 | 0 | 2
COMMERCIAL TERMS & CONDITIONS | COMMERCIAL TERMS & CONDITIONS | COMMERCIAL TERMS & CONDITIONS | COMMERCIAL TERMS & CONDITIONS | 0 | 0 | 0
JQB TECHNOLOGY CO LTD | JQB TECHNOLOGY CO LTD | JQB TECHNOLOGY CO LTD | JQB TECHNOLOGY CO LTD | 0 | 0 | 0
Unit F1A-016, 1st Floor, UTC MALL, Plot 209/869, Ladhies Rd, Nairobi Central, Starehe, Nairobi, Kenya | Unit F1A-016, 1st Floor, UTC MALL, Plot 209/869, Ladhies Rd, Nairobi Central, Starehe, Nairobi, Kenya | Unit F1A-016, 1st Floor, UTC MALL, Plot 209/869, Ladhies Rd, Nairobi Central, Starehe, Nairobi, Kenya | Unit F1A-016, 1st Floor, UTC MALL, Plot 209/869, Ladhies Rd, Nairobi Central, Starehe, Nairobi, Kenya | 1 | 0 | 1
License No.: UBP292588 | License No.: UBP292588 | License No.: UBP292588 | License No.: UBP292588 | 292588 | 0 | 292588
Supplier: Fupu Technology Co., Ltd. (China) | Supplier: Fupu Technology Co., Ltd. (China) | Supplier: Fupu Technology Co., Ltd. (China) | Supplier: Fupu Technology Co., Ltd. (China) | 0 | 0 | 0
Email: info@jqbkenya.com | Email: info@jqbkenya.com | Email: info@jqbkenya.com | Email: info@jqbkenya.com | 0 | 0 | 0
Authorized Signature & Company Stamp | Authorized Signature & Company Stamp | Authorized Signature & Company Stamp | Authorized Signature & Company Stamp | 0 | 0 | 0
This quotation is confidential and intended solely for Artisan Fashion. | This quotation is confidential and intended solely for Artisan Fashion. | This quotation is confidential and intended solely for Artisan Fashion. | This quotation is confidential and intended solely for Artisan Fashion. | 0 | 0 | 0
© 2026 JQB Technology Co Ltd ¦ Fupu Technology Co., Ltd. All rights reserved. | © 2026 JQB Technology Co Ltd ¦ Fupu Technology Co., Ltd. All rights reserved. | © 2026 JQB Technology Co Ltd ¦ Fupu Technology Co., Ltd. All rights reserved. | © 2026 JQB Technology Co Ltd ¦ Fupu Technology Co., Ltd. All rights reserved. | 2026 | 0 | 2026
Incoterm: DDP Nairobi, Kenya (Delivered Duty Paid — includes all freight, duties, VAT, and delivery to site)▸ | Incoterm: DDP Nairobi, Kenya (Delivered Duty Paid — includes all freight, duties, VAT, and delivery to site)▸ | Incoterm: DDP Nairobi, Kenya (Delivered Duty Paid — includes all freight, duties, VAT, and delivery to site)▸ | Incoterm: DDP Nairobi, Kenya (Delivered Duty Paid — includes all freight, duties, VAT, and delivery to site)▸ | 0 | 0 | 0
Payment Terms: T/T 30% deposit with order, 70% balance before shipment▸ | Payment Terms: T/T 30% deposit with order, 70% balance before shipment▸ | Payment Terms: T/T 30% deposit with order, 70% balance before shipment▸ | Payment Terms: T/T 30% deposit with order, 70% balance before shipment▸ | 30 | 0 | 30
Delivery Time: 35-45 days from receipt of deposit (including sea freight to Nairobi)▸ | Delivery Time: 35-45 days from receipt of deposit (including sea freight to Nairobi)▸ | Delivery Time: 35-45 days from receipt of deposit (including sea freight to Nairobi)▸ | Delivery Time: 35-45 days from receipt of deposit (including sea freight to Nairobi)▸ | 35 | 0 | 35
Installation: 7-10 working days on-site (supervision by qualified technician)▸ | Installation: 7-10 working days on-site (supervision by qualified technician)▸ | Installation: 7-10 working days on-site (supervision by qualified technician)▸ | Installation: 7-10 working days on-site (supervision by qualified technician)▸ | 7 | 0 | 7
Packing: Export carton + wooden pallets, sea-worthy packaging, DG-compliant (batteries)▸ | Packing: Export carton + wooden pallets, sea-worthy packaging, DG-compliant (batteries)▸ | Packing: Export carton + wooden pallets, sea-worthy packaging, DG-compliant (batteries)▸ | Packing: Export carton + wooden pallets, sea-worthy packaging, DG-compliant (batteries)▸ | 0 | 0 | 0
Country of Origin: People's Republic of China▸ | Country of Origin: People's Republic of China▸ | Country of Origin: People's Republic of China▸ | Country of Origin: People's Republic of China▸ | 0 | 0 | 0
Price Validity: 30 days from quotation date▸ | Price Validity: 30 days from quotation date▸ | Price Validity: 30 days from quotation date▸ | Price Validity: 30 days from quotation date▸ | 30 | 0 | 30
Warranty — PV Modules: 25-year linear power output guarantee (12-year product warranty)▸ | Warranty — PV Modules: 25-year linear power output guarantee (12-year product warranty)▸ | Warranty — PV Modules: 25-year linear power output guarantee (12-year product warranty)▸ | Warranty — PV Modules: 25-year linear power output guarantee (12-year product warranty)▸ | 25 | 0 | 25
Warranty — Inverter: 10-year manufacturer warranty▸ | Warranty — Inverter: 10-year manufacturer warranty▸ | Warranty — Inverter: 10-year manufacturer warranty▸ | Warranty — Inverter: 10-year manufacturer warranty▸ | 10 | 0 | 10
Warranty — Battery System: 5-year manufacturer warranty (>6,000 cycles @ 90% DoD)▸ | Warranty — Battery System: 5-year manufacturer warranty (>6,000 cycles @ 90% DoD)▸ | Warranty — Battery System: 5-year manufacturer warranty (>6,000 cycles @ 90% DoD)▸ | Warranty — Battery System: 5-year manufacturer warranty (>6,000 cycles @ 90% DoD)▸ | 5 | 0 | 5
Warranty — Mounting & Electrical: 5-year material & workmanship warranty▸ | Warranty — Mounting & Electrical: 5-year material & workmanship warranty▸ | Warranty — Mounting & Electrical: 5-year material & workmanship warranty▸ | Warranty — Mounting & Electrical: 5-year material & workmanship warranty▸ | 5 | 0 | 5
After-Sales: 2-year remote technical support + spare parts supply▸ | After-Sales: 2-year remote technical support + spare parts supply▸ | After-Sales: 2-year remote technical support + spare parts supply▸ | After-Sales: 2-year remote technical support + spare parts supply▸ | 2 | 0 | 2
Monitoring: Free cloud-based monitoring platform with mobile app access▸ | Monitoring: Free cloud-based monitoring platform with mobile app access▸ | Monitoring: Free cloud-based monitoring platform with mobile app access▸ | Monitoring: Free cloud-based monitoring platform with mobile app access▸ | 0 | 0 | 0
Core Equipment Subtotal | [5 empty] | 756227.62
Auxiliary Materials (Full BOS)
| Mounting Structure |  | Aluminum alloy, wind-resistant | 900kWp |  | 21724.36
| DC/AC Cables |  | PV1-F + power cables | Full set |  | 12069.09
| Connectors |  | MC4, terminal blocks | Full set |  | 4827.64
| Cable Trays + Conduits |  | UV-resistant | Full set |  | 4827.64
| Clamps, Lugs, Fasteners |  | Complete fixing kit | Full set |  | 4827.64
| Lightning Protection + Earthing |  | Complete set | 1 |  | 3500
| Distribution Box |  | AC/DC combiner + SPD | 1 |  | 6500
| Aux Subtotal |  |  |  |  | 48276.36
Engineering & Services
| Design |  | Layout, electrical, structural | 1 |  | 6500
| Installation + Labor |  | Full installation | 1 |  | 79656
| Commissioning |  | Testing + grid connection | 1 |  | 10620.8
| Training |  | Operation + maintenance | 1 |  | 4500
| Service Subtotal |  |  |  |  | 101276.8
Logistics & Customs (Kenya)
| Sea Freight + Insurance |  |  | 1 |  | 18200
| Local Transport |  |  | 1 |  | 5800
| Customs Clearance Support |  |  | 1 |  | 2552
| Logistics Subtotal |  |  |  |  | 26552
Total Investment Summary
| Contingency (5%) |  |  |  |  | 32918.14
| GRAND TOTAL |  |  |  |  | 965250.92